## Slide 1: Porous Pavement Applications For Barnegat Bay Watershed A Gray/Green Infrastructure Technique
Stephen J. Souza, Ph.D.

## Slide 2: Hydrology of Undeveloped Watershed

## Slide 3: Hydrology of Developed Watershed
10%-20% Impervious Cover

## Slide 4: What’s A Green/Gray SW BMP?
Gray Stormwater BMPs – Standard techniques used to collect, route and “manage” stormwater runoff...Focus on collect, detain and discharge.
Green Stormwater BMPs – Wide array of SWM practices used to collect, retain, reuse, infiltrate and passively biologically treat runoff... Focus on reducing runoff volume, maximizing runoff recharge, and removing pollutants.
Green/Gray Stormwater BMPs – Hybrid stormwater runoff management...incorporates some of both gray and green techniques.
Scalable - Very applicable for lake communities…new or retrofit applications for individual lots, parking lots, boat launch, walkways, clubhouse parking lot, etc.

## Slide 5: Overview of Porous and Permeable Pavement

## Slide 7: What’s Porous/Permeable Pavement?
Paving material with functional and structural support properties similar to conventional pavement.
Paving material with “pores” that facilitate the passage of stormwater through the pavement's surface.
Net positive effect
  Reduced runoff volume
  No loss in function as a stable, paved surface
Used in Europe for close to 50 years.

## Slide 8: Types of Porous/Permeable Pavement
Porous concrete
Porous asphalt
Pervious pavers (PICP)
Eco-pavers

## Slide 9
More runoff
Runoff generated faster
More contaminant mobilization & transport
Less runoff, runoff rate slower
More chance for recharge
Less contaminant transport
Conventional Versus Permeable Pavement

## Slide 10: Permeable Surface With Under Drain

## Slide 11: Permeable Pavement W/ Bio-detention
https://imgbin.com/png/pGehbEUb/bioretention-stormwater-retention-basin-permeable-paving-pond-png

## Slide 12: Shared Construction/Installation Attributes
From: ASCE Permeable Pavement Manual

## Slide 13: From: USDOT – FHA / FHWA-HIF-15-009, 2015

## Slide 14: Permeable/Porous Pavement - Pros
Less runoff – reduced flooding, pollutant loading, size of ancillary BMPs
Reduces urban ‘heat island’ effect.
Less “slip / trip”...safer surfaces.
Applicable for various scale projects.
Some produced using recycled materials.
Service life similar to conventional pavement.
LEED credits.
Can be used in cold/warm climates.
More attractive than standard paving.

## Slide 15: Permeable/Porous Pavement - Cons
Public acceptance
May be more expensive than conventional surfaces.
Special maintenance to prevent clogging.
In high traffic areas may not provide longevity of conventional surfaces.
Special considerations w high water table and sub-soils subject to shrink/swell or frost heave.
Lack of skilled experienced contractors.
Acceptance by municipal engineers (see #1 and #2 above).

## Slide 16: Possible Water Quality Benefits
Source - https://www.asphaltpavement.org – National Asphalt Pavement Assoc.

## Slide 17: Comparative Costs
Material costs generally 10%-20% greater for permeable pavements compared to nonpermeable pavements.
Base excavation and preparation costs typically similar and in some cases less for permeable pavements.
Some cost offsets may be realized due to greater infiltration and less runoff; decreases need/size of ancillary detention basin.
Maintenance costs are greater for permeable pavements.
Accounting for added SW mgmt. costs, permeable pavements are more economical over 20-year and 30-year cycles1.
1 – Rehan, Qi and Werner. 2018. Life-Cycle Cost Analysis for Traditional and Permeable Pavements, Construction Research Congress 2018

## Slide 18: Types of Porous and Permeable Pavement

## Slide 19: Permeable or Porous Asphalt
https://www.unh.edu/unhsc/sites/unh.edu.unhsc/files/pubs_specs_info/unhsc_pa_spec_10_09.pdf

## Slide 20: Porous Asphalt Specs
National Asphalt Pavement Association (NAPA).
USDOT Federal Highway Admin
Various Departments of Transportation (DOT).

## Slide 21: Permeable Concrete
High porosity concrete.
Allows passage of rainfall from surface to sub-soils.
Minimizes runoff and promotes recharge.
Rougher surface may limit some applications.

## Slide 22: Design, Installation and Maintenance Specifications
USDOT – FHA
Multiple State DOTs
Pervious Pavement.Org
Concrete Network

## Slide 23: Permeable Pavers
SWM Pave – SWMPave.Com

## Slide 24: Permeable Pavers
Used in variety of applications – patios, parking lots, driveways.
Require proper subsurface preparation.
Typically, cheaper than concrete but may be slightly more expensive than macadam.

## Slide 25: Case Study - Toms River Board OF Education American Littoral Society

## Slide 26: Toms River BOE Offices
Infiltrate runoff from southwest parking lot.
Retrofit 8 parking stalls from conventional macadam to porous pavement.
Portland cement and open-graded aggregate. The aggregate material below the paved area stores and detains runoff.
Post-installation infiltration rate > 10”/hour; greater than the 500 yr event.
Total cost ~ $20,000.

## Slide 27: Existing Conditions
Remove macadam from 8 parking stalls.
Repave w porous concrete
Construct ancillary rain garden to treat and infiltrate any excess runoff

## Slide 28: Remove Macadam and Prep Base

## Slide 29: Final Prep and Install Sub-Base

## Slide 30: Overflow Underdrain System

## Slide 31: Final Porous Concrete Sub-Base

## Slide 32: Pouring of Porous Concrete Surface

## Slide 34: Porous Concrete Surface Set & Curing

## Slide 35: 1 week Following Installation

## Slide 36: 2 Months After Installation

## Slide 37: Toms River BOE Offices WQ Improvements
System capable of infiltrating 500-year event, as based on in-field infiltrometer testing.
Modeled pollutant removal
  95% decrease in TSS.
  80% decrease is TP
  80% reduction TN.

## Slide 38: Maintaining Pervious and Porous Pavement

## Slide 39: Preventive Maintenance
Inspect on a regular (monthly) basis to ensure no standing water, accumulated debris or physical damage.
Don’t use sand, grit, etc. for ice control...usually not needed due to infiltration of precipitation / snow melt.
Train crews to avoid snow plow damage...equip plows with rollers.
Immediately remove tracked mud.
DO NOT apply any type of seal coating...use specialized paint to delineate parking stalls, etc.

## Slide 40: Basic Maintenance Requirements
Bi-annual inspection of surface for cracking, subsidence, spalling, deterioration, and erosion.
Remove unwanted vegetation.
Vacuum sweep surface four times annually.
Power wash to address clogged areas; use <500 psi & direct water at angle of ≤30 degrees
For permeable pavers follow manufacturer’s requirements and pay attention to condition of vegetative cover.

## Slide 41: Specialized Maintenance Equipment

## Slide 42: Plenty of Maintenance Guidance
https://sp360.asce.org/PersonifyEbusiness/Merchandise/Product-Details/productId/233129065
https://www.pwdplanreview.org/upload/pdf/SMP_Maintenance_18.06.04_Porous_Pavement.pdf

## Slide 43: Summary
Alternative paved surface part of lake community SW strategy...small and large scale applications
Significantly reduces runoff volume, helps prevent flooding, decrease pollutant loading and increase infiltration.
Various applications, even high-use roadways.
Requires staff training, special maintenance and more frequent inspection.

## Slide 44
Questions
Stephen J. Souza, Ph.D.